## Slide 1: MRI WW-ADNI 2016
Mayo
Cliff Jack
Bret Borowski
Matt Bernstein
Arvin Forghanian-Arani
Jeff Gunter
Dave Jones
Kejal Kantarci
Rob Reid
Denise Reyes
Matt Senjem
Kaely Thostenson
Prashanthi Vemuri
Chad Ward
Funded MRI Investigators
Charlie DeCarli – UCD
Nick Fox – UCL
Duygu Tosun – SFVA
Paul Thompson – USC
Danielle Harvey – biostats
MR company scientists
Dan Rettmann – GE Mayo
Pete Kollasch/Gunnar Kruger – Siemens
Yansong Zhao - Philips, BU

## Slide 2: ADNI 3 protocol only 3T, all sequences in all subjects
3D T1 volume
3D FLAIR
SWI or equivalent
3D ASL
TF-fMRI - advanced and basic versions
Field map
dMRI - advanced and basic versions
Coronal high resolution T2

## Slide 3: ADNI 3 MRI protocol rationale 3D T1
core for multi modality comparisons
precise longitudinal measure

## Slide 4: ADNI 3 MRI protocol rationale FLAIR: CV disease detection – safety standard for trials, required for standard of care local clinical reads

## Slide 5: ADNI 3 MRI protocol rationale SWI: MCB detection, safety standard for trials, required for standard of care local clinical reads

## Slide 6: ADNI 3 MRI protocol rationale Coronal hi res T2: Hippocampal subfields

## Slide 7: ADNI 3 MRI protocol rationale ASL, dMRI, TF-fMRI
Significant developments since ADNI 2
Opportunity to see if advanced methods cross the diagnostic “value” threshold in clinical trials environment
field continues to seek methods which can be used in Phase 2 which provide an early signal of treatment response
2016 advanced is 2021 routine – do not want methods to be outmoded by end of ADNI 3 grant cycle

## Slide 8: 3D pCASL

## Slide 9: DTI – FA group map, ADNI CN and AD

## Slide 10
TF-fMRI
Default Mode Network subsystems - group map ADNI 2

## Slide 11: MR measures – funded investigators
Structural MRI measures
  BSI – UCL (Fox)
  Freesurfer – SFVA (Tosun )
  TBM – USC (Thompson)
  TBM-Syn – Mayo (‘Jack’)
Cerebrovascuar disease – UC Davis (DeCarli)
AIRA H (MCB) – Mayo (‘Jack’)
ASL – SFVA (Tosun)
TF-fMRI – Mayo (‘Jack’)
dMRI - USC (Thompson); DeCarli; Fox
Hipp subfields – Penn (Paul Yushkevich)

## Slide 12: ADNI 3 protocol - details
3D T1 volume - all platforms
  MPRAGE Siemens and Philips; IR-FSPGR GE
  2x accelerated
FLAIR
  3D at sites with license; GE – Cube; Siemens – Space; Philips – Vista
  2D if no 3D license

## Slide 13: ADNI 3 protocol - details
SWI or equivalent
  2D GRE if no SWI license
ASL
  If have license: 3D pCASL GE and Philips; 3D pASL Siemens
  If no 3D license, no ASL
Coronal high res T2 - all platforms

## Slide 14: dMRI – advanced and basic
  advanced, HCP-like: b=1000 & 2000 shells; or 300, 1000, 2500
    Better ROI-based MD, FA measures
  Enable adding NODDI, kurtosis measures
  Enable tractography
  Enable cortical hub to hub connectivity analyses
Basic – single shell, b=1000
Compatibility – derive equivalent of basic dMRI in every subject at no time penalty
  extract b1000 shell from advanced acquisitions

## Slide 15: TF-fMRI - advanced and basic
advanced, HCP-like – 10 min, sub second TR, SMS
  More precise measure of time series (temporal resolution)
  Less noisy node to node, ICA, graph theory measures
  Directly measure physiological parameters
  Time varying connectivity metrics
Basic – 10 minute, ~3 sec TR
Compatibly advanced and basic  derived basic equivalent
  down sample advanced time series to 1 volume per 3 sec

## Slide 16: dMRI and TF-fMRI – requirements for advanced
Hardware requirement
  party line: 32/64 array coil, likely Siemens 20 array coil also
Software requirement: multi band (SMS)
  Siemens product VE11C - end of year
  Philips product 5.3 - end of year
  GE product DV 2.6 - end of year to early next year
Consequently, ADNI 3 will start with basic and sites will step up to advanced as systems are upgraded

## Slide 17: Rollover subjects go to ADNI 3 protocol – i.e. no parallel ADNI 2 protocol for roll overs
3D T1 volume - consistent
SWI - break
3D FLAIR - break
ASL - break
TF-fMRI and dMRI - basic & derived somewhat consistent; advanced break
Coronal high res T2 - somewhat consistent